## Beaglebone
IP Beaglebone Black
[5 empty] | Dispositivo | [6 empty] | TOTAL DE SERIAIS CONFIGURADAS | 106
Sala | SERIALxxCON ID | IP Beaglebone | VLAN | Tipo Equipamento | 1 | 2 | 3 | 4 | 5 | 6 | Rack
1 | 94 | 10.128.101.101 | vlan 101 | VAC - MKS | Booster | Anel | Anel | Anel
| 93 | 10.128.101.102 | vlan 101 | VAC - 4UHV | Dispositivo 1: Booster; Dispositivo 2: Booster; Dispositivo 3: Anel
| 115 | 10.128.101.103 | vlan 101 |  | Dispositivo 4: Anel; Dispositivo 5: Anel; Dispositivo 6: Anel
| 111 | 10.128.101.104 | vlan 101 | ELP - DC LINK
| 95 | 10.128.101.105 | vlan 101 | ELP - FBP
| 96 | 10.128.101.106 | vlan 101 | MBTemp Booster | B1 | B2 | B3 | B4 | B5
| xxxx | 10.128.101.107 | vlan 101 | EPP - TB Injection Septum | [6 empty] | 1
| xxxx | 10.128.101.108 | vlan 101 | EPP - BO Injection Kicker | [6 empty] | 1
| xxxx | 10.128.101.109 | vlan 101 | EPP - Injection Thick Septum 1 | [6 empty] | 4
| xxxx | 10.128.101.110 | vlan 101 | EPP - TS Injection Thick Septum 2 | [6 empty] | 4
| xxxx | 10.128.101.111 | vlan 101 | EPP - TS Injection Thin Septum | [6 empty] | 4
| xxxx | 10.128.101.112 | vlan 101 | EPP - SI Injection Dipolar Kicker | [6 empty] | 5
| xxxx | 10.128.101.113 | vlan 101 | EPP - SI Injection Non Linear Kicker | [6 empty] | 5
10.128.101.114
10.128.101.115
10.128.101.116
10.128.101.117
10.128.101.118
10.128.101.119
| xxxx | 10.128.101.120 | vlan 101 | ELP - Corretoras do Anel
2 | xxx | 10.128.102.101 | vlan 102 | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.102.102 | vlan 102 | VAC - 4UHV | Dispositivo 1: Booster; Dispositivo 2: Booster; Dispositivo 3: Booster
| xxx | 10.128.102.103 | vlan 102 |  | Dispositivo 4: Anel; Dispositivo 5: Anel; Dispositivo 6: Anel
| xxx | 10.128.102.104 | vlan 102 | ELP - DC LINK
| xxx | 10.128.102.105 | vlan 102 | ELP - FBP
10.128.102.106
10.128.102.107
10.128.102.108
3 | xxx | 10.128.103.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.103.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
| xxx | 10.128.103.103
10.128.103.104
10.128.103.105
| xxx | 10.128.103.106 |  | MBTemp Booster | B6 | B7 | B8 | B9 | B10
10.128.103.107
10.128.103.108
4 | xxx | 10.128.104.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.104.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.104.103
| xxx | 10.128.104.104 |  | ELP - DC LINK
| xxx | 10.128.104.105 |  | ELP - FBP
10.128.104.106
10.128.104.107
10.128.104.108
5 | xxx | 10.128.105.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.105.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
| xxx | 10.128.105.103
| xxx | 10.128.105.104 |  | ELP - DC LINK
| xxx | 10.128.105.105 |  | ELP - FBP
| xxx | 10.128.105.106 |  | MBTemp Booster | B11 | B12 | B13 | B14 | B15
10.128.105.107
10.128.105.108
6 | xxx | 10.128.106.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.106.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.106.103
10.128.106.104
10.128.106.105
10.128.106.106
10.128.106.107
10.128.106.108
7 | xxx | 10.128.107.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.107.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
| xxx | 10.128.107.103
| xxx | 10.128.107.104 |  | ELP - DC LINK
| xxx | 10.128.107.105 |  | ELP - FBP
| xxx | 10.128.107.106 |  | MBTemp Booster | B16 | B17 | B18 | B19 | B20
10.128.107.107
10.128.107.108
8 | xxx | 10.128.108.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.108.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.108.103
| xxx | 10.128.108.104 |  | ELP - DC LINK
| xxx | 10.128.108.105 |  | ELP - FBP
10.128.108.106
10.128.108.107
10.128.108.108
9 | xxx | 10.128.109.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.109.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
| xxx | 10.128.109.103
10.128.106.104
10.128.106.105
| xxx | 10.128.109.106 |  | MBTemp Booster | B21 | B22 | B23 | B24 | B25
10.128.109.107
10.128.109.108
10 | xxx | 10.128.110.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| xxx | 10.128.110.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.110.103
| xxx | 10.128.110.104 |  | ELP - DC LINK
| xxx | 10.128.110.105 |  | ELP - FBP
10.128.110.106
10.128.110.107
10.128.110.108
11 | xxx | 10.128.111.101 |  | VAC - MKS
| xxx | 10.128.111.102 |  | VAC - 4UHV
| xxx | 10.128.111.103
| xxx | 10.128.111.104 |  | ELP - DC LINK
| xxx | 10.128.111.105 |  | ELP - FBP
| xxx | 10.128.111.106 |  | MBTemp Booster | B26 | B27 | B28 | B29 | B30
10.128.111.107
10.128.111.108
12 | xxx | 10.128.112.101 |  | VAC - MKS
| xxx | 10.128.112.102 |  | VAC - 4UHV
10.128.112.103
10.128.112.104
10.128.112.105
10.128.112.106
10.128.112.107
10.128.112.108
13 | 232 | 10.128.113.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 231 | 10.128.113.102 |  | VAC - 4UHV | Dispositivo 1: Booster; Dispositivo 2: Booster
| 233 | 10.128.113.103 |  |  | Dispositivo 3: Anel; Dispositivo 4: Anel; Dispositivo 5: Anel
| 236 | 10.128.113.104 |  | ELP - DC LINK
| 235 | 10.128.113.105 |  | ELP - FBP
| 234 | 10.128.113.106 |  | MBTemp Booster | B31 | B32 | B33 | B34 | B35
10.128.113.107
10.128.113.108
14 | 228 | 10.128.114.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 227 | 10.128.114.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.114.103
| 230 | 10.128.114.104 |  | ELP - DC LINK
| 229 | 10.128.114.105 |  | ELP - FBP
10.128.114.106
10.128.114.107
10.128.114.108
15 | 224 | 10.128.115.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 225 | 10.128.115.102 |  | VAC - 4UHV | Dispositivo 1: Booster; Dispositivo 2: Booster
| 226 | 10.128.115.103 |  |  | Dispositivo 3: Anel; Dispositivo 4: Anel; Dispositivo 5: Anel
10.128.115.104
10.128.115.105
| 219 | 10.128.115.106 |  | MBTemp Booster | B36 | B37 | B38 | B39 | B40
10.128.115.107
10.128.115.108
16 | 222 | 10.128.116.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 223 | 10.128.116.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.116.103
| 221 | 10.128.116.104 |  | ELP - DC LINK
| 220 | 10.128.116.105 |  | ELP - FBP
10.128.116.106
10.128.116.107
10.128.116.108
17 | 249 | 10.128.117.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 250 | 10.128.117.102 |  | VAC - 4UHV | Dispositivo 1: Booster; Dispositivo 2: Booster
| 254 | 10.128.117.103 |  |  | Dispositivo 3: Anel; Dispositivo 4: Anel; Dispositivo 5: Anel
| 252 | 10.128.117.104 |  | ELP - DC LINK
| 253 | 10.128.117.105 |  | ELP - FBP
| 251 | 10.128.117.106 |  | MBTemp Booster | B41 | B42 | B43 | B44 | B45
10.128.117.107
10.128.117.108
18 | 218 | 10.128.118.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 217 | 10.128.118.102 |  | VAC - 4UHV | Booster | Booster | Anel | Anel
10.128.118.103
10.128.118.104
10.128.118.105
10.128.118.106
10.128.118.107
10.128.118.108
19 | 214 | 10.128.119.101 |  | VAC - MKS | Booster | Anel | Anel | Anel
| 216 | 10.128.119.102 |  | VAC - 4UHV | Dispositivo 1: Booster; Dispositivo 2: Booster
| 215 | 10.128.119.103 |  |  | Dispositivo 3: Anel; Dispositivo 4: Anel; Dispositivo 5: Anel
10.128.119.104
10.128.119.105
| 116 | 10.128.119.106 |  | MBTemp Booster | B46 | B47 | B48 | B49 | B50
10.128.119.107
10.128.119.108
20 | 103 | 10.128.120.101 | vlan 120 | VAC - MKS | LTB | Booster | Anel | Anel | Anel
| 105 | 10.128.120.102 | vlan 120 | VAC - 4UHV | Dispositivo 1: LTB; Dispositivo 2: LTB; Dispositivo 3: Booster
| 112 | 10.128.120.103 | vlan 120 |  | Dispositivo 4: Booster; Dispositivo 5: Anel; Dispositivo 6: Anel
| 113 | 10.128.120.104 | vlan 120 | ELP - DC LINK
| 114 | 10.128.120.105 | vlan 120 | ELP - FBP
10.128.120.106
|  | 10.128.120.107 | vlan 120 | EPP - BO Ejection Kicker | [6 empty] | 2
|  | 10.128.120.108 | vlan 120 | EPP - TS Ejection Thin Septum | [6 empty] | 3
|  | 10.128.120.109 | vlan 120 | EPP - TS Ejection Thick Septum | [6 empty] | 3
|  | 10.128.120.110 | vlan 120 | EPP - SI Vertical Pinger | [6 empty] | 2
21 | xxxx | 10.128.121.101 | vlan 121 | ELP - FAP LT
| xxxx | 10.128.121.102 | vlan 121 | ELP - DCLINK FBP LT
| xxxx | 10.128.121.103 | vlan 121 | ELP - FBP QUAD
| xxxx | 10.128.121.104 | vlan 121 | ELP - FBP CH/CV
10.128.121.105
10.128.121.106
10.128.121.107
10.128.121.108
22 | xxxx | 10.128.122.101 | vlan 122 | MBTemp LTB | Dispositivo 1: LTB
10.128.122.102
10.128.122.103
10.128.122.104
10.128.122.105
10.128.122.106
10.128.122.107
10.128.122.108
23 | xxxx | 10.128.123.101 | vlan 123 | ELP - QF BO - PA-RaPSC03:CO-PSCtrl-B01
| xxxx | 10.128.123.102 | vlan 123 | ELP - SF BO - PA-RaPSC03:CO-PSCtrl-B02
| xxxx | 10.128.123.103 | vlan 123 | ELP - SD BO - PA-RaPSC03:CO-PSCtrl-B03
| xxxx | 10.128.123.104 | vlan 123 | ELP - QD BO - PA-RaPSC03:CO-PSCtrl-B04
|  | 10.128.123.105 | vlan 123 | ELP - Dipolo BO - RAPSE05 | [6 empty] | BBB JÁ CONFIGURADA
| xxxx | 10.128.123.106 | vlan 123 | ELP - Dipolo BO - RAPSF05 | [6 empty] | BBB JÁ CONFIGURADA
10.128.123.107
10.128.123.108

## Switch
Switch Core 1 |  | IP Switch |  | IP Interesse |  | Switch Dig
vlan 1 | Linac | 10.128.*.1 | Core | Srv. CON | 10.0.38.34 | 10.128.150.10 | IA-14RaDiag03-CO-NetSw
vlan 2 | TIC | 10.128.*.10 | Padrão | Srv. CON | 10.128.255.5 | 10.128.150.11 | IA-16RaBbB-CO-NetSw
vlan 101 | Sala 1 | 10.128.*.11 | Padrão | Srv. DIG | 10.128.255.6 | 10.128.150.12 | IA-18RaDiag04-CO-NetSw
vlan 102 | Sala 2 |  |  | oobm (mgmt interface) | 10.129.0.100 | 10.128.150.13 | IA-20RaDiag01-CO-NetSw
vlan 103 | Sala 3 |  |  | vyos | vyos@10.128.101.2 | 10.128.150.14 | IA-20RaDiag02-CO-NetSw
vlan 104 | Sala 4 |  |  |  |  | 10.128.2**.10 | IA-**RaBPM-CO-NetSw
vlan 105 | Sala 5
vlan 106 | Sala 6
vlan 107 | Sala 7
vlan 108 | Sala 8
vlan 109 | Sala 9
vlan 110 | Sala 10
vlan 111 | Sala 11
vlan 112 | Sala 12
vlan 113 | Sala 13
vlan 114 | Sala 14
vlan 115 | Sala 15
vlan 116 | Sala 16
vlan 117 | Sala 17
vlan 118 | Sala 18
vlan 119 | Sala 19
vlan 120 | Sala 20
vlan 121 | Sala 21
vlan 122 | Sala de Conectividade
vlan 123 | Sala de RF
vlan 124 | Sala de Fontes
vlan 150 | DIG - Uso Geral
vlan 151 | DIG - Cameras
vlan 152 | DIG - Controladores Galil
vlan 153 | DIG - Serviores Dell
vlan 254 | Sala de Controle
vlan 255 | Servidores
vlan 201 - 221 | DIG - Rack de BPM 201 - 221
vlan 500 | IMAS - Interlock MPS
vlan 501 | IMAS - Interlock PPS
vlan 502 | IMAS - Interlock IHM
vlan 600 | DIG - RFFE

## PVs Agilent 4UHV
ENABLE | IP | Setor | RS485 ID | Rack | Dispositivo | C1 | C2 | C3 | C4 | Arquivado
True | 10.128.250.201 | Booster | 11 | 1 | TEST | C1 | C2 | C3 | C4 | x

## PVs MKS937b
ENABLE | IP | Setor | RS485 ID | Rack | Dispositivo | A1 | A2 | B1 | B2 | C1 | C2 | Configuracao | HI A1 | HI A2 | HI B1 | HI B2 | HI C1 | HI C2 | HIHI A1 | HIHI A2 | HIHI B1 | HIHI B2 | HIHI C1 | HIHI C2
True | 10.128.101.101 | Booster | 1 | 1 | BO-RA01:VA-VGC-01 | BO-01U:VA-CCG-BG | BO-RA01:VA-VGC-01:A2 | BO-04U:VA-CCG-BG | BO-RA01:VA-VGC-01:B2 | BO-01U:VA-PIR-BG | BO-04U:VA-PIR-BG | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.102.101 | Booster | 1 | 2 | BO-RA02:VA-VGC-01 | BO-05D:VA-CCG-RFC | BO-RA02:VA-VGC-01:A2 | BO-06U:VA-CCG-ED | BO-RA02:VA-VGC-01:B2 | BO-05D:VA-PIR-RFC | BO-06U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.103.101 | Booster | 1 | 3 | BO-RA03:VA-VGC-01 | BO-RA03:VA-VGC-01:A1 | BO-RA03:VA-VGC-01:A2 | BO-RA03:VA-VGC-01:B1 | BO-RA03:VA-VGC-01:B2 | BO-RA03:VA-VGC-01:C1 | BO-RA03:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.104.101 | Booster | 1 | 4 | BO-RA04:VA-VGC-01 | BO-09U:VA-CCG-BG | BO-RA04:VA-VGC-01:A2 | BO-11U:VA-CCG-ED | BO-RA04:VA-VGC-01:B2 | BO-09U:VA-PIR-BG | BO-11U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.105.101 | Booster | 1 | 5 | BO-RA05:VA-VGC-01 | BO-RA05:VA-VGC-01:A1 | BO-RA05:VA-VGC-01:A2 | BO-RA05:VA-VGC-01:B1 | BO-RA05:VA-VGC-01:B2 | BO-RA05:VA-VGC-01:C1 | BO-RA05:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.106.101 | Booster | 1 | 6 | BO-RA06:VA-VGC-01 | BO-14U:VA-CCG-BG | BO-RA06:VA-VGC-01:A2 | BO-16U:VA-CCG-ED | BO-RA06:VA-VGC-01:B2 | BO-14U:VA-PIR-BG | BO-16U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.107.101 | Booster | 1 | 7 | BO-RA07:VA-VGC-01 | BO-RA07:VA-VGC-01:A1 | BO-RA07:VA-VGC-01:A2 | BO-RA07:VA-VGC-01:B1 | BO-RA07:VA-VGC-01:B2 | BO-RA07:VA-VGC-01:C1 | BO-RA07:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.108.101 | Booster | 1 | 8 | BO-RA08:VA-VGC-01 | BO-19U:VA-CCG-BG | BO-RA08:VA-VGC-01:A2 | BO-21U:VA-CCG-ED | BO-RA08:VA-VGC-01:B2 | BO-19U:VA-PIR-BG | BO-21U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.109.101 | Booster | 1 | 9 | BO-RA09:VA-VGC-01 | BO-RA09:VA-VGC-01:A1 | BO-RA09:VA-VGC-01:A2 | BO-RA09:VA-VGC-01:B1 | BO-RA09:VA-VGC-01:B2 | BO-RA09:VA-VGC-01:C1 | BO-RA09:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.110.101 | Booster | 1 | 10 | BO-RA10:VA-VGC-01 | BO-24U:VA-CCG-BG | BO-RA10:VA-VGC-01:A2 | BO-26U:VA-CCG-ED | BO-RA10:VA-VGC-01:B2 | BO-24U:VA-PIR-BG | BO-26U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.111.101 | Booster | 1 | 11 | BO-RA11:VA-VGC-01 | BO-RA11:VA-VGC-01:A1 | BO-RA11:VA-VGC-01:A2 | BO-RA11:VA-VGC-01:B1 | BO-RA11:VA-VGC-01:B2 | BO-RA11:VA-VGC-01:C1 | BO-RA11:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.112.101 | Booster | 1 | 12 | BO-RA12:VA-VGC-01 | BO-29U:VA-CCG-BG | BO-RA12:VA-VGC-01:A2 | BO-31U:VA-CCG-ED | BO-RA12:VA-VGC-01:B2 | BO-29U:VA-PIR-BG | BO-31U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.114.101 | Booster | 1 | 14 | BO-RA14:VA-VGC-01 | BO-34U:VA-CCG-BG | BO-RA14:VA-VGC-01:A2 | BO-36U:VA-CCG-ED | BO-RA14:VA-VGC-01:B2 | BO-34U:VA-PIR-BG | BO-36U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.115.101 | Booster | 1 | 15 | BO-RA15:VA-VGC-01 | BO-RA15:VA-VGC-01:A1 | BO-RA15:VA-VGC-01:A2 | BO-RA15:VA-VGC-01:B1 | BO-RA15:VA-VGC-01:B2 | BO-RA15:VA-VGC-01:C1 | BO-RA15:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.116.101 | Booster | 1 | 16 | BO-RA16:VA-VGC-01 | BO-39U:VA-CCG-BG | BO-RA16:VA-VGC-01:A2 | BO-41U:VA-CCG-ED | BO-RA16:VA-VGC-01:B2 | BO-39U:VA-PIR-BG | BO-41U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.117.101 | Booster | 1 | 17 | BO-RA17:VA-VGC-01 | BO-RA17:VA-VGC-01:A1 | BO-RA17:VA-VGC-01:A2 | BO-RA17:VA-VGC-01:B1 | BO-RA17:VA-VGC-01:B2 | BO-RA17:VA-VGC-01:C1 | BO-RA17:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.118.101 | Booster | 1 | 18 | BO-RA18:VA-VGC-01 | BO-44U:VA-CCG-BG | BO-RA18:VA-VGC-01:A2 | BO-46U:VA-CCG-ED | BO-RA18:VA-VGC-01:B2 | BO-44U:VA-PIR-BG | BO-46U:VA-PIR-ED | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.119.101 | Booster | 1 | 19 | BO-RA19:VA-VGC-01 | BO-47U:VA-CCG-ED | BO-RA19:VA-VGC-01:A2 | BO-49U:VA-CCG-BG | BO-RA19:VA-VGC-01:B2 | BO-47U:VA-PIR-ED | BO-49U:VA-PIR-BG | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.120.101 | LTB | 1 | 20 | BO-RA20:VA-VGC-01 | TB-01:VA-CCG-ED | BO-RA20:VA-VGC-01:A2 | TB-04:VA-CCG-ED | BO-RA20:VA-VGC-01:B2 | TB-01:VA-PIR-BG | BO-RA20:VA-VGC-01:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
| 10.128.120.101 | Booster | 2 | 20 | BO-RA20:VA-VGC-02 | BO-RA20:VA-VGC-02:A1 | BO-RA20:VA-VGC-02:A2 | BO-RA20:VA-VGC-02:B1 | BO-RA20:VA-VGC-02:B2 | BO-RA20:VA-VGC-02:C1 | BO-RA20:VA-VGC-02:C2 | CC CC PR | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-7 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5 | 1e-5
True | 10.128.103.151 | Anel | 1 | TUNEL | BAKING-VGC-01 | BAKING-VGC-01:A1 | BAKING-VGC-01:A2 | BAKING-VGC-01:B1 | BAKING-VGC-01:B2 | BAKING-VGC-01:C1 | BAKING-VGC-01:C2 | CC CC PR

## PVs SPIxCONV
ENABLE | IP | Description | Dev | Voltage Factor | Address | Scan Rate | Database | BBB hostname
True | 10.128.101.107 | EPP - TB Injection Septum | TB-04:PU-InjSept | 100.0 | 5 | .1 second | SPIxCONV | BBB-EPP-BOSeptInj | 10 | 128 | 101 | 107
True | 10.128.101.108 | EPP - BO Injection Kicker | BO-01D:PU-InjKckr | 1000.0 | 10 | .1 second | SPIxCONV | BBB-EPP-BOKickInj | 10 | 128 | 101 | 108
[9 empty] | 10.128.101.109 | EPP - Injection Thick Septum 1 | TS-04:PU-InjSeptG-1 | 100.0 | 17 | .1 second | SPIxCONV | 10 | 128 | 101 | 109
[9 empty] | 10.128.101.110 | EPP - TS Injection Thick Septum 2 | TS-04:PU-InjSeptG-2 | 100.0 | 4 | .1 second | SPIxCONV | 10 | 128 | 101 | 110
[9 empty] | 10.128.101.111 | EPP - TS Injection Thin Septum | TS-04:PU-InjSeptF | 150.0 | 7 | .1 second | SPIxCONV | 10 | 128 | 101 | 111
[9 empty] | 10.128.101.112 | EPP - SI Injection Dipolar Kicker | SI-01SA:PU-InjDpKckr | 3000.0 |  | .1 second | SPIxCONV | 10 | 128 | 101 | 112
[9 empty] | 10.0.28.65 | EPP - SI Injection Non Linear Kicker | SI-01SA:PU-InjNLKckr | 1500.0 | 8 | .1 second | SPIxCONV_NLK_OnAxis | 10 | 0 | 28 | 65
[9 empty] | 10.128.120.107 | EPP - BO Ejection Kicker | BO-48D:PU-EjeKckr | 1000.0 | 2 | .1 second | SPIxCONV | 10 | 128 | 120 | 107
[9 empty] | 10.128.120.108 | EPP - TS Ejection Thin Septum | TS-01:PU-EjeSeptF | 100.0 | 9 | .1 second | SPIxCONV | 10 | 128 | 120 | 108
[9 empty] | 10.128.120.109 | EPP - TS Ejection Thick Septum | TS-01:PU-EjeSeptG | 100.0 | 6 | .1 second | SPIxCONV | 10 | 128 | 120 | 109
[9 empty] | 10.128.120.110 | EPP - SI Vertical Pinger | SI-19C4:PU-PingV | 3000.0 |  | .1 second | SPIxCONV | 10 | 128 | 120 | 110

## PVs Counting PRU
ENABLE | IP | Dev | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH1 DESC | CH2 DESC | CH3 DESC | CH4 DESC | CH5 DESC | CH6 DESC | CH7 DESC | CH8 DESC
True | 10.128.101.111 | C18 | C18-LNLS1 | C18-LNLS2 | C18-LNLS3 | C18-LNLS4 | C18-LNLS5 | C18-LNLS6 | C18-Bergoz1 | C18-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.112 | C27 | C27-LNLS1 | C27-LNLS2 | C27-LNLS3 | C27-LNLS4 | C27-LNLS5 | C27-LNLS6 | C27-Bergoz1 | C27-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.113 | C29 | C29-LNLS1 | C29-LNLS2 | C29-LNLS3 | C29-LNLS4 | C29-LNLS5 | C29-LNLS6 | C29-Bergoz1 | C29-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.114 | C30 | C30-LNLS1 | C30-LNLS2 | C30-LNLS3 | C30-LNLS4 | C30-LNLS5 | C30-LNLS6 | C30-Bergoz1 | C30-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.115 | C25 | C25-LNLS1 | C25-LNLS2 | C25-LNLS3 | C25-LNLS4 | C25-LNLS5 | C25-LNLS6 | C25-Bergoz1 | C25-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.116 | C23 | C23-LNLS1 | C23-LNLS2 | C23-LNLS3 | C23-LNLS4 | C23-LNLS5 | C23-LNLS6 | C23-Bergoz1 | C23-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.117 | C28 | C28-LNLS1 | C28-LNLS2 | C28-LNLS3 | C28-LNLS4 | C28-LNLS5 | C28-LNLS6 | C28-Bergoz1 | C28-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2
True | 10.128.101.118 | C22 | C22-LNLS1 | C22-LNLS2 | C22-LNLS3 | C22-LNLS4 | C22-LNLS5 | C22-LNLS6 | C22-Bergoz1 | C22-Bergoz2 | LNLS 1 - Ch1 | LNLS 1 - Ch2 | LNLS 1 - Ch3 | LNLS 2 - Ch1 | LNLS 2 - Ch2 | LNLS 2 - Ch3 | BLM Bergoz Diff 1 | BLM Bergoz Diff 2

## PVs MBTemp
ENABLE | IP | Rack | ADDR | Dev | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | HI CH1 | HI CH2 | HI CH3 | HI CH4 | HI CH5 | HI CH6 | HI CH7 | HI CH8 | HIHI CH1 | HIHI CH2 | HIHI CH3 | HIHI CH4 | HIHI CH5 | HIHI CH6 | HIHI CH7 | HIHI CH8
True | 10.128.122.101 | 22 | 1 | LTB | LTB-CH1 | LTB-CH2 | LTB-CH3 | LTB-CH4 | LTB-CH5 | LTB-CH6 | LTB-CH7 | LTB-CH8 | [16 empty] | 10 | 128
True | 10.128.101.106 | 1 | 1 | Dipolo-B01 | Dipolo-B01-CH1 | Dipolo-B01-CH2 | Dipolo-B01-CH3 | Dipolo-B01-CH4 | Dipolo-B01-CH5 | Dipolo-B01-CH6 | Dipolo-B01-CH7 | Dipolo-B01-CH8
True | 10.128.101.106 | 1 | 2 | Dipolo-B02 | Dipolo-B02-CH1 | Dipolo-B02-CH2 | Dipolo-B02-CH3 | Dipolo-B02-CH4 | Dipolo-B02-CH5 | Dipolo-B02-CH6 | Dipolo-B02-CH7 | Dipolo-B02-CH8
True | 10.128.101.106 | 1 | 3 | Dipolo-B03 | Dipolo-B03-CH1 | Dipolo-B03-CH2 | Dipolo-B03-CH3 | Dipolo-B03-CH4 | Dipolo-B03-CH5 | Dipolo-B03-CH6 | Dipolo-B03-CH7 | Dipolo-B03-CH8
True | 10.128.101.106 | 1 | 4 | Dipolo-B04 | Dipolo-B04-CH1 | Dipolo-B04-CH2 | Dipolo-B04-CH3 | Dipolo-B04-CH4 | Dipolo-B04-CH5 | Dipolo-B04-CH6 | Dipolo-B04-CH7 | Dipolo-B04-CH8
True | 10.128.101.106 | 1 | 5 | Dipolo-B05 | Dipolo-B05-CH1 | Dipolo-B05-CH2 | Dipolo-B05-CH3 | Dipolo-B05-CH4 | Dipolo-B05-CH5 | Dipolo-B05-CH6 | Dipolo-B05-CH7 | Dipolo-B05-CH8
True | 10.128.103.106 | 3 | 1 | Dipolo-B06 | Dipolo-B06-CH1 | Dipolo-B06-CH2 | Dipolo-B06-CH3 | Dipolo-B06-CH4 | Dipolo-B06-CH5 | Dipolo-B06-CH6 | Dipolo-B06-CH7 | Dipolo-B06-CH8
True | 10.128.103.106 | 3 | 2 | Dipolo-B07 | Dipolo-B07-CH1 | Dipolo-B07-CH2 | Dipolo-B07-CH3 | Dipolo-B07-CH4 | Dipolo-B07-CH5 | Dipolo-B07-CH6 | Dipolo-B07-CH7 | Dipolo-B07-CH8
True | 10.128.103.106 | 3 | 3 | Dipolo-B08 | Dipolo-B08-CH1 | Dipolo-B08-CH2 | Dipolo-B08-CH3 | Dipolo-B08-CH4 | Dipolo-B08-CH5 | Dipolo-B08-CH6 | Dipolo-B08-CH7 | Dipolo-B08-CH8
True | 10.128.103.106 | 3 | 4 | Dipolo-B09 | Dipolo-B09-CH1 | Dipolo-B09-CH2 | Dipolo-B09-CH3 | Dipolo-B09-CH4 | Dipolo-B09-CH5 | Dipolo-B09-CH6 | Dipolo-B09-CH7 | Dipolo-B09-CH8
True | 10.128.103.106 | 3 | 5 | Dipolo-B10 | Dipolo-B10-CH1 | Dipolo-B10-CH2 | Dipolo-B10-CH3 | Dipolo-B10-CH4 | Dipolo-B10-CH5 | Dipolo-B10-CH6 | Dipolo-B10-CH7 | Dipolo-B10-CH8
True | 10.128.105.106 | 5 | 1 | Dipolo-B11 | Dipolo-B11-CH1 | Dipolo-B11-CH2 | Dipolo-B11-CH3 | Dipolo-B11-CH4 | Dipolo-B11-CH5 | Dipolo-B11-CH6 | Dipolo-B11-CH7 | Dipolo-B11-CH8
True | 10.128.105.106 | 5 | 2 | Dipolo-B12 | Dipolo-B12-CH1 | Dipolo-B12-CH2 | Dipolo-B12-CH3 | Dipolo-B12-CH4 | Dipolo-B12-CH5 | Dipolo-B12-CH6 | Dipolo-B12-CH7 | Dipolo-B12-CH8
True | 10.128.105.106 | 5 | 3 | Dipolo-B13 | Dipolo-B13-CH1 | Dipolo-B13-CH2 | Dipolo-B13-CH3 | Dipolo-B13-CH4 | Dipolo-B13-CH5 | Dipolo-B13-CH6 | Dipolo-B13-CH7 | Dipolo-B13-CH8
True | 10.128.105.106 | 5 | 4 | Dipolo-B14 | Dipolo-B14-CH1 | Dipolo-B14-CH2 | Dipolo-B14-CH3 | Dipolo-B14-CH4 | Dipolo-B14-CH5 | Dipolo-B14-CH6 | Dipolo-B14-CH7 | Dipolo-B14-CH8
True | 10.128.105.106 | 5 | 5 | Dipolo-B15 | Dipolo-B15-CH1 | Dipolo-B15-CH2 | Dipolo-B15-CH3 | Dipolo-B15-CH4 | Dipolo-B15-CH5 | Dipolo-B15-CH6 | Dipolo-B15-CH7 | Dipolo-B15-CH8
True | 10.128.107.106 | 7 | 1 | Dipolo-B16 | Dipolo-B16-CH1 | Dipolo-B16-CH2 | Dipolo-B16-CH3 | Dipolo-B16-CH4 | Dipolo-B16-CH5 | Dipolo-B16-CH6 | Dipolo-B16-CH7 | Dipolo-B16-CH8
True | 10.128.107.106 | 7 | 2 | Dipolo-B17 | Dipolo-B17-CH1 | Dipolo-B17-CH2 | Dipolo-B17-CH3 | Dipolo-B17-CH4 | Dipolo-B17-CH5 | Dipolo-B17-CH6 | Dipolo-B17-CH7 | Dipolo-B17-CH8
True | 10.128.107.106 | 7 | 3 | Dipolo-B18 | Dipolo-B18-CH1 | Dipolo-B18-CH2 | Dipolo-B18-CH3 | Dipolo-B18-CH4 | Dipolo-B18-CH5 | Dipolo-B18-CH6 | Dipolo-B18-CH7 | Dipolo-B18-CH8
True | 10.128.107.106 | 7 | 4 | Dipolo-B19 | Dipolo-B19-CH1 | Dipolo-B19-CH2 | Dipolo-B19-CH3 | Dipolo-B19-CH4 | Dipolo-B19-CH5 | Dipolo-B19-CH6 | Dipolo-B19-CH7 | Dipolo-B19-CH8
True | 10.128.107.106 | 7 | 5 | Dipolo-B20 | Dipolo-B20-CH1 | Dipolo-B20-CH2 | Dipolo-B20-CH3 | Dipolo-B20-CH4 | Dipolo-B20-CH5 | Dipolo-B20-CH6 | Dipolo-B20-CH7 | Dipolo-B20-CH8
True | 10.128.109.106 | 9 | 1 | Dipolo-B21 | Dipolo-B21-CH1 | Dipolo-B21-CH2 | Dipolo-B21-CH3 | Dipolo-B21-CH4 | Dipolo-B21-CH5 | Dipolo-B21-CH6 | Dipolo-B21-CH7 | Dipolo-B21-CH8
True | 10.128.109.106 | 9 | 2 | Dipolo-B22 | Dipolo-B22-CH1 | Dipolo-B22-CH2 | Dipolo-B22-CH3 | Dipolo-B22-CH4 | Dipolo-B22-CH5 | Dipolo-B22-CH6 | Dipolo-B22-CH7 | Dipolo-B22-CH8
True | 10.128.109.106 | 9 | 3 | Dipolo-B23 | Dipolo-B23-CH1 | Dipolo-B23-CH2 | Dipolo-B23-CH3 | Dipolo-B23-CH4 | Dipolo-B23-CH5 | Dipolo-B23-CH6 | Dipolo-B23-CH7 | Dipolo-B23-CH8
True | 10.128.109.106 | 9 | 4 | Dipolo-B24 | Dipolo-B24-CH1 | Dipolo-B24-CH2 | Dipolo-B24-CH3 | Dipolo-B24-CH4 | Dipolo-B24-CH5 | Dipolo-B24-CH6 | Dipolo-B24-CH7 | Dipolo-B24-CH8
True | 10.128.109.106 | 9 | 5 | Dipolo-B25 | Dipolo-B25-CH1 | Dipolo-B25-CH2 | Dipolo-B25-CH3 | Dipolo-B25-CH4 | Dipolo-B25-CH5 | Dipolo-B25-CH6 | Dipolo-B25-CH7 | Dipolo-B25-CH8
True | 10.128.111.106 | 11 | 1 | Dipolo-B26 | Dipolo-B26-CH1 | Dipolo-B26-CH2 | Dipolo-B26-CH3 | Dipolo-B26-CH4 | Dipolo-B26-CH5 | Dipolo-B26-CH6 | Dipolo-B26-CH7 | Dipolo-B26-CH8
True | 10.128.111.106 | 11 | 2 | Dipolo-B27 | Dipolo-B27-CH1 | Dipolo-B27-CH2 | Dipolo-B27-CH3 | Dipolo-B27-CH4 | Dipolo-B27-CH5 | Dipolo-B27-CH6 | Dipolo-B27-CH7 | Dipolo-B27-CH8
True | 10.128.111.106 | 11 | 3 | Dipolo-B28 | Dipolo-B28-CH1 | Dipolo-B28-CH2 | Dipolo-B28-CH3 | Dipolo-B28-CH4 | Dipolo-B28-CH5 | Dipolo-B28-CH6 | Dipolo-B28-CH7 | Dipolo-B28-CH8
True | 10.128.111.106 | 11 | 4 | Dipolo-B29 | Dipolo-B29-CH1 | Dipolo-B29-CH2 | Dipolo-B29-CH3 | Dipolo-B29-CH4 | Dipolo-B29-CH5 | Dipolo-B29-CH6 | Dipolo-B29-CH7 | Dipolo-B29-CH8
True | 10.128.111.106 | 11 | 5 | Dipolo-B30 | Dipolo-B30-CH1 | Dipolo-B30-CH2 | Dipolo-B30-CH3 | Dipolo-B30-CH4 | Dipolo-B30-CH5 | Dipolo-B30-CH6 | Dipolo-B30-CH7 | Dipolo-B30-CH8
True | 10.128.113.106 | 13 | 1 | Dipolo-B31 | Dipolo-B31-CH1 | Dipolo-B31-CH2 | Dipolo-B31-CH3 | Dipolo-B31-CH4 | Dipolo-B31-CH5 | Dipolo-B31-CH6 | Dipolo-B31-CH7 | Dipolo-B31-CH8
True | 10.128.113.106 | 13 | 2 | Dipolo-B32 | Dipolo-B32-CH1 | Dipolo-B32-CH2 | Dipolo-B32-CH3 | Dipolo-B32-CH4 | Dipolo-B32-CH5 | Dipolo-B32-CH6 | Dipolo-B32-CH7 | Dipolo-B32-CH8
True | 10.128.113.106 | 13 | 3 | Dipolo-B33 | Dipolo-B33-CH1 | Dipolo-B33-CH2 | Dipolo-B33-CH3 | Dipolo-B33-CH4 | Dipolo-B33-CH5 | Dipolo-B33-CH6 | Dipolo-B33-CH7 | Dipolo-B33-CH8
True | 10.128.113.106 | 13 | 4 | Dipolo-B34 | Dipolo-B34-CH1 | Dipolo-B34-CH2 | Dipolo-B34-CH3 | Dipolo-B34-CH4 | Dipolo-B34-CH5 | Dipolo-B34-CH6 | Dipolo-B34-CH7 | Dipolo-B34-CH8
True | 10.128.113.106 | 13 | 5 | Dipolo-B35 | Dipolo-B35-CH1 | Dipolo-B35-CH2 | Dipolo-B35-CH3 | Dipolo-B35-CH4 | Dipolo-B35-CH5 | Dipolo-B35-CH6 | Dipolo-B35-CH7 | Dipolo-B35-CH8
True | 10.128.115.106 | 15 | 1 | Dipolo-B36 | Dipolo-B36-CH1 | Dipolo-B36-CH2 | Dipolo-B36-CH3 | Dipolo-B36-CH4 | Dipolo-B36-CH5 | Dipolo-B36-CH6 | Dipolo-B36-CH7 | Dipolo-B36-CH8
True | 10.128.115.106 | 15 | 2 | Dipolo-B37 | Dipolo-B37-CH1 | Dipolo-B37-CH2 | Dipolo-B37-CH3 | Dipolo-B37-CH4 | Dipolo-B37-CH5 | Dipolo-B37-CH6 | Dipolo-B37-CH7 | Dipolo-B37-CH8
True | 10.128.115.106 | 15 | 3 | Dipolo-B38 | Dipolo-B38-CH1 | Dipolo-B38-CH2 | Dipolo-B38-CH3 | Dipolo-B38-CH4 | Dipolo-B38-CH5 | Dipolo-B38-CH6 | Dipolo-B38-CH7 | Dipolo-B38-CH8
True | 10.128.115.106 | 15 | 4 | Dipolo-B39 | Dipolo-B39-CH1 | Dipolo-B39-CH2 | Dipolo-B39-CH3 | Dipolo-B39-CH4 | Dipolo-B39-CH5 | Dipolo-B39-CH6 | Dipolo-B39-CH7 | Dipolo-B39-CH8
True | 10.128.115.106 | 15 | 5 | Dipolo-B40 | Dipolo-B40-CH1 | Dipolo-B40-CH2 | Dipolo-B40-CH3 | Dipolo-B40-CH4 | Dipolo-B40-CH5 | Dipolo-B40-CH6 | Dipolo-B40-CH7 | Dipolo-B40-CH8
True | 10.128.117.106 | 17 | 1 | Dipolo-B41 | Dipolo-B41-CH1 | Dipolo-B41-CH2 | Dipolo-B41-CH3 | Dipolo-B41-CH4 | Dipolo-B41-CH5 | Dipolo-B41-CH6 | Dipolo-B41-CH7 | Dipolo-B41-CH8
True | 10.128.117.106 | 17 | 2 | Dipolo-B42 | Dipolo-B42-CH1 | Dipolo-B42-CH2 | Dipolo-B42-CH3 | Dipolo-B42-CH4 | Dipolo-B42-CH5 | Dipolo-B42-CH6 | Dipolo-B42-CH7 | Dipolo-B42-CH8
True | 10.128.117.106 | 17 | 3 | Dipolo-B43 | Dipolo-B43-CH1 | Dipolo-B43-CH2 | Dipolo-B43-CH3 | Dipolo-B43-CH4 | Dipolo-B43-CH5 | Dipolo-B43-CH6 | Dipolo-B43-CH7 | Dipolo-B43-CH8
True | 10.128.117.106 | 17 | 4 | Dipolo-B44 | Dipolo-B44-CH1 | Dipolo-B44-CH2 | Dipolo-B44-CH3 | Dipolo-B44-CH4 | Dipolo-B44-CH5 | Dipolo-B44-CH6 | Dipolo-B44-CH7 | Dipolo-B44-CH8
True | 10.128.117.106 | 17 | 5 | Dipolo-B45 | Dipolo-B45-CH1 | Dipolo-B45-CH2 | Dipolo-B45-CH3 | Dipolo-B45-CH4 | Dipolo-B45-CH5 | Dipolo-B45-CH6 | Dipolo-B45-CH7 | Dipolo-B45-CH8
True | 10.128.119.106 | 19 | 1 | Dipolo-B46 | Dipolo-B46-CH1 | Dipolo-B46-CH2 | Dipolo-B46-CH3 | Dipolo-B46-CH4 | Dipolo-B46-CH5 | Dipolo-B46-CH6 | Dipolo-B46-CH7 | Dipolo-B46-CH8
True | 10.128.119.106 | 19 | 2 | Dipolo-B47 | Dipolo-B47-CH1 | Dipolo-B47-CH2 | Dipolo-B47-CH3 | Dipolo-B47-CH4 | Dipolo-B47-CH5 | Dipolo-B47-CH6 | Dipolo-B47-CH7 | Dipolo-B47-CH8
True | 10.128.119.106 | 19 | 3 | Dipolo-B48 | Dipolo-B48-CH1 | Dipolo-B48-CH2 | Dipolo-B48-CH3 | Dipolo-B48-CH4 | Dipolo-B48-CH5 | Dipolo-B48-CH6 | Dipolo-B48-CH7 | Dipolo-B48-CH8
True | 10.128.119.106 | 19 | 4 | Dipolo-B49 | Dipolo-B49-CH1 | Dipolo-B49-CH2 | Dipolo-B49-CH3 | Dipolo-B49-CH4 | Dipolo-B49-CH5 | Dipolo-B49-CH6 | Dipolo-B49-CH7 | Dipolo-B49-CH8
True | 10.128.119.106 | 19 | 5 | Dipolo-B50 | Dipolo-B50-CH1 | Dipolo-B50-CH2 | Dipolo-B50-CH3 | Dipolo-B50-CH4 | Dipolo-B50-CH5 | Dipolo-B50-CH6 | Dipolo-B50-CH7 | Dipolo-B50-CH8

## Archive Agilent (hidden)
Agilent 4UHV - Reading |  | Device | C1 | C2 | C3 | C4 | PV
:Model-Cte | :Current-Mon | BO-RA20:VA-SIPC-01 | TB-01:VA-SIP20-BG | TB-01:VA-SIP20-ED | TB-02:VA-SIP20-BG | TB-02:VA-SIP20-MD | BO-RA20:VA-SIPC-01:Model-Cte | Device
:SerialNumber-Cte | :Pressure-Mon | BO-RA20:VA-SIPC-02 | TB-02:VA-SIP20-ED | TB-03:VA-SIP20-ED | TB-04:VA-SIP20-ED | TB-03:VA-SIP20-ED:C4 | BO-RA20:VA-SIPC-01:SerialNumber-Cte | Device
:FanTemperature-Mon | :Voltage-Mon | BO-RA20:VA-SIPC-03 | BO-48U:VA-SIP20-ED | BO-48D:VA-SIP20-ED | BO-49U:VA-SIP20-BG | BO-49U:VA-SIP20-ED | BO-RA20:VA-SIPC-01:FanTemperature-Mon | Device
:Protect-Mon | :HVTemperature-Mon | BO-RA20:VA-SIPC-04 | BO-49D:VA-SIP20-ED | BO-50U:VA-SIP20-BG | BO-50U:VA-SIP20-ED | BO-50D:VA-SIP20-ED | BO-RA20:VA-SIPC-01:Protect-Mon | Device
:Step-Mon | :ErrorCode-Mon | SR-RA20:VA-SIPC-05 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | BO-RA20:VA-SIPC-01:Step-Mon | Device
:Unit-RB | :SetErrorCode-Mon | SR-RA20:VA-SIPC-06 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | BO-RA20:VA-SIPC-01:Unit-RB | Device
:Unit-SP | :DeviceNumber-RB | [5 empty] | BO-RA20:VA-SIPC-01:Unit-SP | Device
:Mode-RB | [6 empty] | BO-RA20:VA-SIPC-01:Mode-RB | Device
:Mode-SP | [6 empty] | BO-RA20:VA-SIPC-01:Mode-SP | Device
[7 empty] | TB-01:VA-SIP20-BG:Current-Mon | C1
[7 empty] | TB-01:VA-SIP20-BG:Pressure-Mon | C1
[7 empty] | TB-01:VA-SIP20-BG:Voltage-Mon | C1
[7 empty] | TB-01:VA-SIP20-BG:HVTemperature-Mon | C1
[7 empty] | TB-01:VA-SIP20-BG:ErrorCode-Mon | C1
[7 empty] | TB-01:VA-SIP20-BG:SetErrorCode-Mon | C1
[7 empty] | TB-01:VA-SIP20-BG:DeviceNumber-RB | C1
[7 empty] | TB-01:VA-SIP20-ED:Current-Mon | C2
[7 empty] | TB-01:VA-SIP20-ED:Pressure-Mon | C2
[7 empty] | TB-01:VA-SIP20-ED:Voltage-Mon | C2
[7 empty] | TB-01:VA-SIP20-ED:HVTemperature-Mon | C2
[7 empty] | TB-01:VA-SIP20-ED:ErrorCode-Mon | C2
[7 empty] | TB-01:VA-SIP20-ED:SetErrorCode-Mon | C2
[7 empty] | TB-01:VA-SIP20-ED:DeviceNumber-RB | C2
[7 empty] | TB-02:VA-SIP20-BG:Current-Mon | C3
[7 empty] | TB-02:VA-SIP20-BG:Pressure-Mon | C3
[7 empty] | TB-02:VA-SIP20-BG:Voltage-Mon | C3
[7 empty] | TB-02:VA-SIP20-BG:HVTemperature-Mon | C3
[7 empty] | TB-02:VA-SIP20-BG:ErrorCode-Mon | C3
[7 empty] | TB-02:VA-SIP20-BG:SetErrorCode-Mon | C3
[7 empty] | TB-02:VA-SIP20-BG:DeviceNumber-RB | C3
[7 empty] | TB-02:VA-SIP20-MD:Current-Mon | C4
[7 empty] | TB-02:VA-SIP20-MD:Pressure-Mon | C4
[7 empty] | TB-02:VA-SIP20-MD:Voltage-Mon | C4
[7 empty] | TB-02:VA-SIP20-MD:HVTemperature-Mon | C4
[7 empty] | TB-02:VA-SIP20-MD:ErrorCode-Mon | C4
[7 empty] | TB-02:VA-SIP20-MD:SetErrorCode-Mon | C4
[7 empty] | TB-02:VA-SIP20-MD:DeviceNumber-RB | C4

## Archive MKS (hidden)
MKS 937b Reading |  | Dispositivo | A1 | A2 | B1 | B2 | C1 | C2 | PV
:SerialNumber | :Pressure-Mon | BO-RA20:VA-VGC-02 | TB-01:VA-CCG-ED | #VALUE! | TB-04:VA-CCG-ED | #VALUE! | TB-01:VA-PIR-BG | #VALUE! | BO-RA20:VA-VGC-02:SerialNumber
:CTLV | :Pressure-Mon-s | [7 empty] | BO-RA20:VA-VGC-02:CTLV
:ModuleType-A | :Enable-RB | [7 empty] | BO-RA20:VA-VGC-02:ModuleType-A
:ModuleType-B | :Enable-SP | [7 empty] | BO-RA20:VA-VGC-02:ModuleType-B
:ModuleType-C | [8 empty] | BO-RA20:VA-VGC-02:ModuleType-C
:SensorType-A | [8 empty] | BO-RA20:VA-VGC-02:SensorType-A
:SensorType-B | [8 empty] | BO-RA20:VA-VGC-02:SensorType-B
:SensorType-C | [8 empty] | BO-RA20:VA-VGC-02:SensorType-C
:Unit | [8 empty] | BO-RA20:VA-VGC-02:Unit
:UnitSp | [8 empty] | BO-RA20:VA-VGC-02:UnitSp
:Relay1:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay1:SetpointStatus-Mon
:Relay2:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay2:SetpointStatus-Mon
:Relay3:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay3:SetpointStatus-Mon
:Relay4:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay4:SetpointStatus-Mon
:Relay5:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay5:SetpointStatus-Mon
:Relay6:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay6:SetpointStatus-Mon
:Relay7:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay7:SetpointStatus-Mon
:Relay8:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay8:SetpointStatus-Mon
:Relay9:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay9:SetpointStatus-Mon
:Relay10:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay10:SetpointStatus-Mon
:Relay11:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay11:SetpointStatus-Mon
:Relay12:SetpointStatus-Mon | [8 empty] | BO-RA20:VA-VGC-02:Relay12:SetpointStatus-Mon
TB-01:VA-CCG-ED:Pressure-Mon
TB-01:VA-CCG-ED:Pressure-Mon-s
TB-01:VA-CCG-ED:Enable-RB
TB-01:VA-CCG-ED:Enable-SP
BO-04U:VA-CCG-BG:Pressure-Mon
#VALUE!
#VALUE!
#VALUE!
TB-04:VA-CCG-ED:Pressure-Mon
TB-04:VA-CCG-ED:Pressure-Mon-s
TB-04:VA-CCG-ED:Enable-RB
TB-04:VA-CCG-ED:Enable-SP
BO-01U:VA-PIR-BG:Pressure-Mon
#VALUE!
#VALUE!
#VALUE!
TB-01:VA-PIR-BG:Pressure-Mon
TB-01:VA-PIR-BG:Pressure-Mon-s
TB-01:VA-PIR-BG:Enable-RB
TB-01:VA-PIR-BG:Enable-SP
BO-06U:VA-PIR-ED:Pressure-Mon
#VALUE!
#VALUE!
#VALUE!

## VLAN
IP | Vlan | Tagged | Untagged
10.128.101.10 | 101 | A1-A2 | -
| 150 | A1, 3-6 | -
| 151 | A1, 3-6 | -
| 152 | A1, 3-6 | -
| 500 | A1-A2 | 17-18
| 501 | A1-A2 | 19-22
| 502 | A1-A2 | 23-24
10.128.101.11 | 1 | A1 | A2-A4
| 2 | A1 | 17-24
| 101 | A1 | 1-16
| 500 | A1-A2 | 17-18
| 501 | A1-A2 | 19-22
| 502 | A1-A2 | 23-24
10.128.118.10
10.128.118.11
10.128.120.10 | 1 | 7, A1 | A2-A4
| 2 | A1 | 1-16
| 119 | A1-A2 | -
| 120 | A1-A2 | -
| 150 | A1, 3-6 | -
| 151 | A1, 3-6 | -
| 152 | A1, 3-6 | -
| 500 | 7, A1-A2 | 17-18
| 501 | 7, A1-A2 | 19-22
| 502 | 7, A1-A2 | 23-24
10.128.120.11 | 1 | - | A1-A4
| 2 | - | -
| 120 | A1-A4 | 1-24
| 500 | - | -
| 501 | - | -
| 502 | - | -